LIGO-G0900893-v1
LIGO h(t) Calibration
LSC-Virgo Meeting
Budapest, 23 September 2009
Jordi Burguet-Castell for the Calibration Team

---
Overview
Challenges and novelties with h(t) generation in S6
Actuation Residuals
New Sensing Filter
Production and distribution of h(t)
Standard LDAS
Low-Latency DMT

---
Introduction: The Calibration Loop

---
Calibration Loop
Sensing
h
+
-
C
derr
D
Servo
A
Actuation
h ~ 1/C (1+CAD) derr
Need filters for each element
[Speaker Notes: Explain how we reconstruct h from derr]

---
New Challenge: Actuation Residuals

---
Actuation Residuals
FIR Filters
IIR Filters
Model
Use zeros&poles,
combine elements
Output of a d
Life used to be easy...

---
Actuation Residuals
Model
+
Actuation
Residuals
FIR Filters
IIR Filters
Output of a d
Use zeros&poles,
combine elements
Imre Bartos
Ilya Beloposki
Max Factourovich
Jamie Rollins
But we now know better

---
Actuation Residuals
FIR Filters
IIR Filters
Model
Use zeros&poles,
combine elements
+
Output of a d
and combine
Actuation
Residuals
New method
IFFT-based
[Speaker Notes: We have frequency-domain only actiation residuals, directly measured and without model. We take them into account by our ifft method.]

---
Actuation Residuals
Relative error if
ignoring the residuals
or correcting for them
Form of the residuals and
response of IFFT filter
[Speaker Notes: Mention methods to control de instability, taking less points and playing around.]

---
New Sensing Filter

---
New Sensing Filter
Using the IFFT method we have created the inverse sensing filter.
The new filter doesn't need to be upsampled.
Better precision and more speed (lalapps_ComputeStrainDriver > 2x faster than before!)
Now, total h(t) errors < 5% between 30 Hz and 7 kHz

---
Production and Distribution of h(t)

---
h(t) Production
Two approaches:
LDAS produced calling lalapps – Greg Mendell and Xavi Siemens.
This is the official h(t). 5-10 min latency.
DMT produced, using lal: hoftMon – JB, Shourov Chatterji, Xavi Siemens, John Zweizig.
This is the online h(t). 30s-1min latency.

---
Online h(t) generation
Produced with low latency in special-purpose computers at the sites, and distributed immediately to analysis centers. Generated with a DMT monitor that calls exactly the same (LAL) function as LDAS-produced h(t).
Also produces some simple data quality information in the form of a channel, from which segments are automatically inserted into the segment database.
Creates frame files of 16s duration, with a predictable file name and path (starting gps times are multiples of 16). Example:
/online/frames/hoft/L1/L-L1_DMT_C00_L2-9129/
        L-L1_DMT_C00_L2-912993136-16.gwf
Runs continuously, regardless of detector state.
Calibrated h(t) produced with low latency in special-purpose computers at the sites, and distributed immediately to analysis centers. Generated with a DMT monitor that calls exactly the same (LAL) function as LDAS.
Produces data quality information too in the form of a channel. From it, segments are generated and automatically inserted into the segment database.
Creates frame files of 16s duration, with a predictable file name and path (starting gps times are multiples of 16). Example:
/online/frames/hoft/L1/L-L1_DMT_C00_L2-9129/
        L-L1_DMT_C00_L2-912993136-16.gwf
It runs continuously, regardless of detector state.

---
Online h(t) Aggregation
Low-latency h(t) aggregated to:
CIT,	UWM, Hannover, Syracuse
A set of rsync-based scripts (Igor Yakushin) gather the frame files from the sites to CIT, and distribute them from CIT to TIER-2 centers.
        Latencies < 1m
Find the data:
${ONLINEHOFT}/<IFO>/latest

---
More Information
For more details about the S6 generation of calibrated data, see:
https://www.lsc-group.phys.uwm.edu/daswg/wiki/
        S6OnlineGroup/CalibratedData
For data aggregation, see:
https://www.lsc-group.phys.uwm.edu/daswg/wiki/
        S6OnlineGroup/DataAggregation
For more details about generation of calibrated data, see:
https://www.lsc-group.phys.uwm.edu/daswg/wiki/
        S6OnlineGroup/CalibratedData
For data aggregation, see:
https://www.lsc-group.phys.uwm.edu/daswg/wiki/
        S6OnlineGroup/DataAggregation

---
Summary
A new method to generate filters from frequency response allows us to account for the actuation residuals and have a better sensing filter.
h(t) calibration is 2x faster, and also more precise.
Online analysis possible thanks to a DMT monitor that produces h(t), with latencies < 1m from data taking to presence at clusters.

---
Backup Slides

---
Actuation Residuals:
Relevant Code
%%% From DARMmodel.m
%Detect if AI residuals (model/meast) are defined, if not, set them to 1
%since these are model/meast, and we want the meast,
% thus we need to *divide* our actuation model by these residuals:
if isfield(Xn,'aif')
  aixres = interp1(Xn.aif,Xn.aiexres,ff');
  aiyres = interp1(Xn.aif,Xn.aieyres,ff');
else
  aixres = 1;
  aiyres = 1;
end
% [...]
%new actuation functions:
actx = squeeze(freqresp(pendx*drumhead*ai, 2*pi*ff)) ...
       .*tdelay .* hdx .* d2a./dwxres./aixres;
acty = squeeze(freqresp(pendy*drumhead*ai, 2*pi*ff)) ...
       .*tdelay .* hdy .* d2a./dwyres./aiyres;
actuation = Xn.darm2etmx*actx - Xn.darm2etmy*acty;
%%% From actuation_fir_<EPOCH>.m
% Now the new part: residuals
resx = load('S6H1FilterResidualsX_<EPOCH>.txt');
yX=filter(resx,[1;zeros(length(resx)-1,1)],yX);
resy = load('S6H1FilterResidualsY_<EPOCH>.txt');
yY=filter(resy,[1;zeros(length(resy)-1,1)],yY);
% Net result is the difference
y=yX-yY;
%%% From fit_residuals.m
%% Points used as reference (to later compute the FIR filter).
N=8;
ref1_f = f(1:2^N:end);
ref1_rf = rf(1:2^N:end);
%% Make it so the ifft is real.
ref1_f = [ref1_f; ref1_f(end)+ref1_f(2:end)];
ref1_rf = [ref1_rf; conj(ref1_rf(end:-1:2))];
%% Create the FIR filter.
x1 = ifft(ref1_rf); %, 2^nextpow2(length(ref1_rf)));
x1 = real(x1); % it should be basically real, even before this
%SR = (ref1_f(2) - ref1_f(1) ) * length(ref1_f);
%x1 = [x1(floor(end/2)+1:end); x1(1:floor(end/2))];
% Window
N=size(x1,1);
wind=tukeywin(N,0.75);
wind=hann(N);
for ii = floor(N/2):N
    x1(ii)=x1(ii)*wind(ii);
end

---
h(t) Frame Files
Three channels:
IFO:DMT-STRAIN: calibrated h(t)
Double precision (8 bytes). 16384 Hz.
IFO:DMT-STATE_VECTOR: state vector as constructed by the Control and Data System
Float (4 bytes, need to cast to Int for use). 16 Hz.
IFO:DMT-DATA_QUALITY_VECTOR: data quality vector, stores several data quality flags
Integer (4 bytes). 1 Hz.
LDAS generates Level 2 frames only (Level 1 disappeared). They also contain calibration factors.
Three channels:
IFO:DMT-STRAIN: calibrated h(t)
Double precision (8 bytes). 16384 Hz.
IFO:DMT-STATE_VECTOR: state vector as constructed by the Control and Data System
Float (4 bytes, need to cast to Int for use). 16 Hz.
IFO:DMT-DATA_QUALITY_VECTOR: data quality vector, stores several data quality flags
Integer (4 bytes). 1 Hz.

---
Data Quality Vector Definition
Bitmask definition (DQ = S 2b)
Bit Name Meaning
 0 SCIENCE StateVector_SCIENCE & LIGHT
 1 INJECTION 0=no injection, 1=injection
 2 UP StateVector_UP & LIGHT
 3 CALIBRATED UP & (not TRANSIENT)
 4 BADGAMMA Calibration is bad (not 0.8<gamma<1.2)
 5 LIGHT Light in the arms is ok
 6 MISSING Data was dropped in DMT
For any state to be true, the condition must be true for all samples within the second.
Bit Name Meaning
 0 SCIENCE StateVector_SCIENCE & LIGHT
 1 INJECTION 0=no injection, 1=injection
 2 UP StateVector_UP & LIGHT
 3 CALIBRATED UP & (not TRANSIENT)
 4 BADGAMMA Calibration is bad (not 0.8<gamma<1.2)
 5 LIGHT Light in the arms is ok
 6 MISSING Data was dropped in DMT

---
Segment Information
The h(t) monitor turns Data Quality flags
SCIENCE, CALIBRATED_ONLINE, and INJECTION
into segments of the same name.
The segments will have version 0 so they are flagged as online segments.

---
State Vector Definition
Bits 0-4 define the states. Bits 5-15 are always set to 1, such that the word 0xffff means science mode:
Bit Name Meaning
 0 SCI Operator set to go to science mode
 1 CON Conlog unsets this bit in non-harmless epic changes
 2 UP Set by locking scripts
 3 !INJ Injections unset this bit
 4 EXC Unauthorized excitations cause this bit to be unset
Bit Name Meaning
 0 SCI Operator set to go to science mode
 1 CON Conlog unsets this bit in non-harmless epic changes
 2 UP Set by locking scripts
 3 !INJ Injections unset this bit
 4 EXC Unauthorized excitations cause this bit to be unset

---
New Sensing Function
Sensing
[Speaker Notes: he sensing function is trickier. We use our ifft method and get it right, without having to follow the model so closely, and getting a shorter filter that doesn't need upsampling.]

---
Total Response